[image: image1.jpg]



Weekly Safety Meeting

Company Name

Project Name

Supervisor


Date

	
	
	
	


Mechanical Equipment Operations Near Energized Lines
1. Understand the Hazards:

· Electrical Contact: Any equipment, especially those with long reaches (e.g., cranes, boom lifts, backhoes), poses a risk of contact with overhead power lines.

· Electrocution: Direct contact with an energized line can result in electrocution for the operator or anyone in contact with the equipment.

· Arcing: Electricity can arc to nearby conductive objects, even without direct contact.
2. Conduct Pre-Operation Planning:

· Identify Power Lines: Before beginning work, locate and identify all overhead and underground power lines in the work area.

· Establish Safe Working Distance: OSHA mandates a minimum approach distance of 10 feet for lines up to 50 kV; this distance increases with higher voltages.

· Mark Boundaries: Use visual markers, such as cones or flags, to create a physical boundary and remind workers of safe distances.
3. Inspect Equipment Daily:

· Check Insulation: Ensure that any insulated equipment or parts, such as boom sections, are in good condition without cracks or damage.

· Inspect Grounding: Verify grounding equipment, especially for cranes and other large machinery, to reduce the risk of electrical shock.

· Equipment Functionality: Confirm that controls, emergency stop mechanisms, and alarms are working properly.
4. Control Movement & Positioning:

· Limit Reach of Booms and Cranes: Keep equipment at a safe distance and ensure no part of the equipment encroaches on the minimum approach distance.

· Use Spotters: A designated spotter can help the operator maintain safe distances and avoid accidental line contact.

· Restrict Access: Limit access to the work area for other personnel who are not involved with the operation.
5. Communication and Training:

· Daily Safety Meetings: Review the planned work for the day, the locations of energized lines, and any specific safety measures.

· Signal Training: Ensure operators and spotters understand hand signals, radio protocols, or other communication methods to maintain safe equipment operation.

· Emergency Response: All team members should know the response steps in case of contact with energized lines (e.g., avoid touching equipment until de-energized, call emergency services).
6. PPE and Emergency Preparedness:

· Personal Protective Equipment (PPE): Use appropriate PPE for the task, including insulated gloves and hard hats if needed.

· Emergency Plan: Have an emergency action plan in place, including the location of emergency shut-offs and contact information for utility services.

Conclusion:

Operating mechanical equipment near energized lines requires heightened awareness, thorough preparation, and strict adherence to safety protocols.  Always stay informed about safe distances, ensure equipment is in good condition, and communicate effectively with your team.  Remember, safety is a shared responsibility—speak up if you see unsafe practices and keep each other accountable.

Additional Topics and Meeting Attendees on back:
ADDITIONAL TOPICS COVERED: (I.E. Hazcom, Emergency Plan)
	1.



	2.



	3.




MEETING ATTENDEES:

PRINT NAME



SIGN NAME


EMPLOYEE NUMBER
	1.


	
	

	2.


	
	

	3.


	
	

	4.


	
	

	5.


	
	

	6.


	
	

	7.


	
	

	8.


	
	

	9.


	
	

	10.


	
	

	11.


	
	

	12.


	
	


Mechanical Equipment Operations Near Energized Lines
This Toolbox Meeting is intended as an overview of key points regarding this subject and is not intended to be complete training in accordance with any regulatory standards.

[image: image1.jpg]