| HOT WORK & HOT WORK PERMITTING TOOLBOX TALK |  |
| --- | --- |

Hot work includes welding, brazing, torch cutting, grinding, and torch soldering. Heat, sparks, and hot slag can ignite nearby combustibles, making planning, qualified workers, fire protection, and permit controls essential.

| Date | Project / Location | Instructor |
| --- | --- | --- |

Introduction

Open with: “Today’s safety topic is hot work and permitting—because one spark can start a serious fire.” Use alternatives or designated hot work locations whenever practical.

Key Points: Plan first. Confirm qualified workers, fire protection, fire watch, and permit controls.

Why It Matters

Hot work can ignite surrounding materials and cause severe fires, property damage, injury, or death.

The hot work program assigns responsibilities so hazards are controlled before, during, and after the work.

Poor planning, unqualified workers, and inadequate fire protection can lead to hot work fires.

Quick Engagement Question: “What could ignite during hot work on this job?”

Hot Work Roles & Permit Controls

Before work begins, confirm authorization, qualified workers, fire watch, fire protection, and permit controls.

| People & Fire Protection Issuing Authority: allows the work Performing Authority: qualified/trained worker Fire Watch: monitors for fire Fire protection equipment must be ready | Permit Controls Post permit at the work location Valid for one day and one area Close permit when work is complete File a copy as directed |
| --- | --- |

Mini Scenario: “Hot work is planned near combustibles, but no permit is posted and no fire watch is assigned. What must happen first?”

Safe Hot Work Practices

Use alternatives when possible. If hot work is necessary, use a designated location when practical and follow the permit for that area.

| Before Work Consider alternatives Confirm qualified personnel Have fire protection ready | During Work Keep permit posted Maintain fire watch Control sparks and hot slag | After Work Finish safely Close the permit File permit as directed |
| --- | --- | --- |

Resources & Close

If unsure whether hot work is permitted or authorized, stop and contact your supervisor or issuing authority.

Closing Message: “Plan the job, use qualified workers, control hazards, keep fire protection ready, and follow the permit through closure.”

Toolbox Talk Attendance

Topic: Hot Work & Hot Work Permitting

| Date: | Project / Location: | Instructor: |
| --- | --- | --- |

By signing below, participants acknowledge attendance at this toolbox talk.

| # | Printed Name | Signature | Date |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |